## Slide 1: Replacement Roofing Options
November 15th, 2024

## Slide 2: Introduction
Laurence Matzek
Director, RoofStar Guarantee Program
39 years in roofing industry
  9 years at RCABC in current role
  30 years as a roofing contractor

## Slide 3: RoofStar Guarantee Program
RCABC
Technical
Membership
Your support of the RoofStar Guarantee Program allows us to support the roofing industry
  Educational Sessions
  Technical Training (Apprenticeship)
  Safety Training
  Research Projects
  Building Code and Standard Development

## Slide 4: Agenda
Code Requirements
RPM Replacement Roofing Standards
  Full System
  Partial System
  Recovering
Replacement Roofing Trends
Questions

## Slide 5: New vs. Existing Buildings

## Slide 6: Code Compliance
What does the Building Code say about existing buildings?
NBC
BCBC
VBBL

## Slide 7: Code Compliance
Book 1, Division A, Part 1,
1.1.1.1. Application of this Code
1) This Code applies to any one or more of the following:
….
d) an alteration of any building,
….
Alteration means a change or extension to any matter or thing or to any occupancy regulated by this Code.

## Slide 8: Code Compliance
Book 1, Division A, Part 1,
1.1.1.2. Application to Existing Buildings
1) Where a building is altered, rehabilitated, renovated or repaired, or there is a change in occupancy, the level of life safety and building performance shall not be decreased below a level that already exists. (See Note A-1.1.1.2.(1).)

## Slide 9: Code Compliance
  Division B, Part 11 – Existing Buildings
  Roof fire ratings
  Building Energy and Emissions Performance

## Slide 10: Code Compliance
NBC plans to include Roof Alterations (reroofs) in a future code change
For more information read
Roofing BC
  Fall 2022, Pages 16 - 21

## Slide 11: Code Compliance
Roof Alterations design elements to include:
Wind Uplift
Drainage
Thermal Resistance

## Slide 12: Roofing Practices Manual (RPM) rpm.rcabc.org

## Slide 13: RoofStar Guarantee Standards
Support or exceed:
  NBC
  BCBC
  VBBL
  CSA Standards (A123 is for roofing)
  Must meet or exceed wind uplift design loads

## Slide 14: Definitions

## Slide 15: Common Roof Systems
Conventionally Insulated Roof System
Common for membrane or waterproofing roof systems
May be used for ASM roofs (water-shedding system)

## Slide 16: Common Roof Systems
Protected Roof Membrane Assembly (PMRA or IRMA)
Common for membrane or waterproofing roof systems

## Slide 17: Common Roof Systems
Uninsulated Roof System (uninsulated above the deck)
Common for water-shedding roofs
Older wood frame waterproof roofs

## Slide 18: Roof Replacement Options
Complete Roof System Replacement
The complete removal and replacement of all roof system and metal flashing materials
Article 1.1.4.2
Common for Conventional & Uninsulated

## Slide 19: Roof Replacement Options
Complete Roof System Replacement
Partial Roof System Replacement
The removal and replacement of the roof membrane and metal flashing materials
Article 1.1.4.3
Common for Conventional & PMRA

## Slide 20: Roof Replacement Options
Complete Roof System Replacement
Partial Roof System Replacement
Membrane Recover
Installing a new membrane system over an existing membrane system
Article 1.1.4.4 / 1.3.3.4
Variance Required
Applicable to all roof system

## Slide 21: Roof Replacement Options
Complete Roof System Replacement
Partial Roof System Replacement
Membrane Recover
Membrane Coating
Material applied over the existing membrane
Not covered in our program

## Slide 22: Roof Replacement Options
Which system do you choose?

## Slide 23: Design Considerations
Building Owner’s expectations
Budget

## Slide 24: Design Considerations
Building Owner’s expectations
Budget
Sensitive building operations
Noise & smell tolerance

## Slide 25: Design Considerations
Building Owner’s expectations
Budget
Sensitive building operations
Noise tolerance
Upgrades
  Seismic
  Insulation
  Drainage

## Slide 26: Design Considerations
Building Owner’s expectations
Budget
Sensitive building operations
Noise & smell tolerance
Upgrades
  Seismic
  Insulation
  Drainage
Future use
  Green Roofs
  PV

## Slide 27: Design Considerations
Building Limitations
Conduit on, in or under the roof deck

## Slide 28: Design Considerations
Building Limitations
Conduit on, in or under the roof deck
Additional weight capacity may trigger a structural review

## Slide 29: Design Considerations
Building Limitations
Conduit on, in or under the roof deck
Additional weight capacity
Mechanical Equipment
Low Door Openings

## Slide 30: Design Considerations
Building Limitations
Conduit on, in or under the roof deck
Additional weight capacity
Mechanical Equipment
Low Door Openings
Other building components that may also leak
  Walls
  Skylights
  Chimneys
  Mechanical Equipment

## Slide 31: Design Considerations
Determine the condition of the existing roof assembly
Hazardous materials survey (WorkSafeBC)
Cut Tests will influence the design options and minimizes surprises (extras) during construction

## Slide 32: Design Considerations
Determine the condition of the existing roof assembly
Hazardous materials survey
Cut Tests
Roof Deck type & condition
Air Leakage

## Slide 33: Design Considerations
Determine the condition of the existing roof assembly
Hazardous materials survey
Cut Tests
Roof Deck type & condition
Air Leakage
Leak history / wet materials
Reuse of materials

## Slide 34: Roof Replacement Options
Pros & Cons for each option

## Slide 35: Roof System Replacement
Pros
Deck condition is confirmed
AVB Control layer can be installed / improved
Possible to upgrade insulation / slope for drainage
All New Materials
Optimum Performance

## Slide 36: Roof System Replacement
Cons
Cost
Existing materials headed to landfill
Dust and small debris may enter space below

## Slide 37: Partial Roof System Replacement
Pros
Cost effective
Reuse of existing materials
Visual review / replacement of existing insulation / overlay
Disposal is minimal
Dust and small debris is reduced
Possible to upgrade insulation / slope

## Slide 38: Partial Roof System Replacement
Cons
No review of roof deck
No review of existing AVB or insulation layers
No CSA A123.21 Tested Assemblies available. Field pull tests may be required

## Slide 39: Partial Roof System Replacement
Cons
Adhering to existing fiberboard.
Field pull tests should be considered

## Slide 40: Membrane Recover
RoofStar Standards requires
  Moisture scan / cut tests to confirm existing assembly is dry
  Grid cut existing roof (conventionally insulated systems)
  Overlay board
  Removal of membrane flashings
  Replace all roof penetration flashings
  Variance request
  Confirm roof system securement

## Slide 41: Membrane Recover
Pros
Last choice for replacement work, when full or partial roof system is not practical
Most cost effective
Option when existing membrane can’t be easily removed

## Slide 42: Membrane Recover
Cons
Weight
No review of the existing roof assembly (only cut tests)
No CSA A123.21 Tested Assemblies available. Field pull tests may be required
Requires existing membrane preparation
Limited to one application over an existing roof

## Slide 43: Replacement Roofing Trends
Design Authority
Last 4 years
# of Projects
Other:
  Manufacturer
  Roofer
  Owner

## Slide 44: Replacement Roofing Trends
Roof System
Last 4 years
# of Squares
Other:
  3-ply SBS
  Cedar
  PVC
  Hot Rubber
  PMMA

## Slide 45: Replacement Roofing Trends
Roof Assembly
Last 4 years
Waterproofing Roof Systems (flat)
# of Projects

## Slide 46: Replacement Roofing Trends
Roof Securement
Last 4 years
Waterproofing Roof Systems (flat)
# of Squares

## Slide 47: Questions
Staff available to assist:
  Laurence Matzek, Director, RoofStar Guarantee Program
  laurence@rcabc.org
  James Klassen, RoofStar Technical Advisor
  jklassen@rcabc.org
  Doug Wells, RoofStar Technical Advisor
  dwells@rcabc.org
  technical@rcabc.org