## Slide 2
Fenestration Durability for a Resilient Future
Presented by
Anton Van Dyk

## Slide 3
history Lesson
Wall Assembly
2x6 Wood Stud
R21 Batt Insulation
6 mil Poly
½” OSB
Building Paper / Tyvek
Non Rainscreen Cladding
Wall Assembly
2x4 Wood Stud
R12 Paper backed Batt Insulation
No Poly
3/8” Plywood
Building Paper
Non Rainscreen Cladding
“Measures for Energy Conservation in New Buildings 1978” - NRCan
Drying Potential l Wetting Potential
Drying Potential l Wetting Potential

## Slide 4
How has fenestration changed?
Wood Windows
Aluminum Windows
Vinyl/Fiberglass Windows

## Slide 5
Do energy codes change our fenestration options?
U – Value? SHGC? Durability?
2025
What type of product falls into this range?

## Slide 6
Energy Modelling: Whole Building Solutions
TEUI (Total Energy Use Intensity)
  Easy to meet because of advanced energy-efficient measures:
    Heat pumps,
    LED lighting,
    Low-flow plumbing fixtures, etc.
TEDI (Thermal Energy Demand Intensity)
  Difficult to meet mostly due to thermal bridging calculations
    Improve envelope details,
    Higher performance windows & WWR,
    Enhance airtightness/reduce air leakage rate
GHGI (Greenhouse Gas Intensity):
  The trend is:
    Electricity,
    Renewable energy
This word lacks context
Notes: The purpose of energy modelling is to verify compliance with requirements of TEUI, TEDI, GHGI, and airtightness.
Usually, TEUI targets are relatively easy to meet because the total energy consumption can be reduced through energy-efficient measures, such as heat pumps, LED lighting, energy star appliances, etc.
On the other hand, TEDI is more challenging because it depends on the building envelope performance, especially that the thermal bridging calculations are now mandatory for Part 3 buildings.
As a result, to improve TEDI, it usually requires us to improve envelope systems such as reducing thermal bridges, optimizing window-to-wall ratio (WWR), as well as improving airtightness.
The last metric, GHGI, sets limits on operational greenhouse gas emissions. In BC, compliance with GHGI usually involves electrification through electric heat pumps, and/or adopting renewable energy sources.

## Slide 7
How does total energy use of a building impact components?
“The focus on total energy use as a target for design and construction creates a significant number of these less-than-optimal choices. Knowing how much gas a truck uses in a year does little to help understand what load it can carry up a hill or to safely descend the other side”.

## Slide 8
What does our environment look like today and into the future?
Victoria Average High and Low
3.1oC
-15.6oC
39.8oC
23.5oC
Kamloops Average High and Low
-5.7oC
-26.6oC
47.3oC
29.4oC
Atmospheric River
November 2021
January 2024
January 2024
June 2021
June 2021

## Slide 9
Key performance considerations linked to durability

## Slide 10
Examples of performance considerations linked to durability
Excessive localized air leakage in cold climates.
High SHG Glazing damaging window frames.
Dark window frames at peak summer temperatures.
Use of Surface 4 LowE’s in cold climates in lieu of triple glazing.
Low SHG Glazing reflectivity causing fires.

## Slide 11
Excessive localized air leakage at peak winter lows

## Slide 12
How High SHGC can impact durability
FenCan TechTalk - Melted Windows and High SHG
0.40 SHGC

## Slide 13
Understanding the extrusion process

## Slide 14
Light vs. Dark surfaces

## Slide 15
What does our environment look like today and into the future?
Victoria Average High and Low
3.1oC
-15.6oC
39.8oC
23.5oC
Kamloops Average High and Low
-5.7oC
-26.6oC
47.3oC
29.4oC
Atmospheric River
November 2021
January 2024
January 2024
June 2021
June 2021

## Slide 16
What happens to PVC WHEN IT REACHES NEAR 80oC?

## Slide 17
WHY DO FRAMES BOW?

## Slide 18
This was palm springs

## Slide 19
Sash gasket – Air and Water Performance

## Slide 20
Main frame distortion– Integration Performance

## Slide 21
Frame support– Integration Performance

## Slide 22
Glazing tape – Air Water & Structural Performance

## Slide 23
Sash Bow– Functionality Issues

## Slide 24
Mullion joints separate – water leakage – outside view

## Slide 25
Mullion joints separate – water leakage – Inside view

## Slide 26
Within the last 3 years

## Slide 27
WHAT CAN CHANGE

## Slide 28
Egbc - Climate change action plan

## Slide 29
Egbc - climate change action plan

## Slide 30
Are our standards good enough?
The Scope of NAFS. Does it address durability?
How do we deal with other dark materials on a building.

## Slide 31
Other dark materials

## Slide 32
Are our standards good enough?
The Scope of NAFS. Does it address durability?
How do we deal with other dark materials on a building.
How do we specify finishes? As a colour or as a material or system.

## Slide 33
How do we specify windows?
Colour - Established at the Development Permit application. Often linked to marketing and housing trends.
Thermal Performance - Is established early in design due to step code level.
Budgeting - Window Product specification is established at feasibility stage.
When do we consider durability and performance in the selection process?

## Slide 34
Can we Test for this?
Durability Test (AAMA 1506) Within Performance Testing (NAFS)

## Slide 35
National Research Council Canada & Fenestration Canada
We are currently in discussion with NRC and Fenestration Canada to develop guidelines around fenestration durability, particularly in relation to long-term performance assessment, increased energy efficiency and carbon reduction. Fenestration Canada will be issuing a survey seeking industry interest and support.

## Slide 36
Questions & Answers